DEPARTMENT OF APPLIED SCIENCES AND HUMANITIES

Advanced Research Lab of Physics

The department has a series of fine and high-end research facilities to carry out advanced materials science experimental and theoretical research.

Following details of the instrumentation available in our research lab;

### RF Sputtering System (Thin Film Deposition Facility)

The RF Sputtering System is a physical vapor deposition (PVD) unit utilized for growing high-purity, uniform thin films of insulating, dielectric, semiconductor, and conductive materials. By employing a high-frequency alternating radio frequency power source (13.56 MHz), this system prevents charge accumulation on non-conductive targets, allowing reliable deposition for advanced material research.

There are several more instruments which are listed below:

- Simultaneous Thermal Analyzer system (DTA/TGA/DSC)

- Thermobalance with TG-DTG-T Registration option DTA, 20 up to 1550° C

- Thermobalance basic unit

- Amplifier for balance

- Sample holder A1203

- DTA

- HDSC

- Crucible 0.3 ml

- Cap

- Protection tube A1203

- Furnace

- Thyristor Power unit 3.5 KVA

- Controller card

- Software basic module

- Win-Tw

- Multiplexer/Demultiplexer Training kit

- Advanced digital Transmitter/Receiver kit

- Fibre optics power meter

- Laser diode and glass fibre-based laser training kit

- Fibre optic connection kit

- HIOKI Model 3532-50 LCR Hi-Tester 42 Hz to 5 mHz

- 9262 Test Fixture Direction connection type

- Model 9700-10 Head Amp unit

- PICOAMMETER / Voltage source model 6487/E

- KUSB-488

- LOW NOISE TRIAX Cable model 237-ALG-2

- NBC Brand atmosphere-controlled tubular furnace

- Gas control unit

- Flang with O-ring

- C.S.T charge

- Double Beam PC Based UV-spectrophotometer UV 5704 S S

- Pentium-III PC with accessories for UV 570458

- Inverted metallurgical microscope without CCTV

- Micrometer WF 10

- Grain size eyepiece

- Grain size turret eyepiece

- Electronic Analytical Balance made in Germany, capacity 120 gm, accuracy 0.1mg, calib-internal

- Comparator 2000 Lovibono make

- Automatic low water level cut-off device

- Digital DO meter

- BOD incubator

- Interior illuminate

- Automatic timer

- Arrangement for incubation of CO2

- CO2 cylinder

- Air compressed

- Humidity control

- Distillation Apparatus

- Hydraulic Press

- Microprocessor-based programmable furnace max. temp 1400°C

- Gas Chromatograph model ultima 2100